## Technical Criteria
Supply, installation and Repairs of Cables Service provider technical selection criteria
| Qualitative Technical Criteria Description |  | Tender Returnable Proof Format | Criteria Weighting | Criteria Sub Weighting
|  |  |  | (%) | (%)
1. | Technical criteria |  |  | 80
| 1.1 | Submit proof of similar work done before (In the past year) | List of jobs/contract and customer contact |  | 10
| 1.2 | Technical staff should be compitent on the following: 1. Electrical competency ( Minimum N3 certificate) 2. HT terminations and Joints Competency 3. LV terminations and Joints competency 4. Cable Fault finding and Cable testing Comepetency 5. Boiler Maker for racking installation | Copy of CV ,ID copies and certificates |  | 30
| 1.3 | Technical staff additional requirements : Qualified Electrician ( Trade test) / Electrical technician (Ndip) recognised by SAQA | Copy of CV and certificates |  | 5
|  | Ability to supply all required Required cables in time • 3 days lead time (15 points) • 5 days lead time (12 points) • 7 days lead time (8 points) • 10 days lead time (5 points) • More than 14 days lead time (1 points) |  |  | 15
| 1.4 | •Cable failure report •Cable test report template | Copy of template or example Copy of template or example |  | 5
| 1.5 | • Submission of a list of Mobile Testing and Fault-finding equipment with relevant updated calibration certificates. • Workshop visit for verification of machinery and equipment | Calibration Certificate Worshop Physical adress |  | 15
2. | Quality criteria |  |  | 20
| 2.1 | • Proof of Quality management system (10 points) • No Quality system in place (0 points) | Copy signed QMS |  | 10
|  | Established Standards and Procedures for : 1.HT terminations and Joints 2. LV terminations 3. Cable test Procedures |  |  | 10
| TOTAL |  |  | 100 | 100
3 | Gate Keeper
Minimum qualifying weighted average score to continue to be ivaluated : 1.Please note: 1.2 qualifying points is 30
A minimum overall score of 70% will be used to deem the tenderer technically acceptable and anything below 70% will deem the tenderer technically unacceptable